## 7.27 Silvassa
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Community Health Centre, Silvassa-Rakholi, Dadra Nagar Haveli
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical service
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1
III | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.28 Vadodara
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Sayaji Rao Shinde Government Hospital, Vadodara (Gujarat)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1
III | Exhaust Fan (new, 350 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 19 | 19
IV | Exhaust Fan (new, 400 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 1 | 1
V | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
IV | Separation of DSTB ward area from lobby with aluminum partition of dimensions (Height of 12 by width of 8 feet) | SQFT | 0 | 0 | 0 | 100 | 100
V | Supply and installation of glas aluminium door of dimension 3'6" W and 7 feet height with all acessories | SQFT | 0 | 0 | 0 | 28 | 28
VI | Providing and fixing hydraulic door closer of approved make manufactured as per IS:3564 for doors with necessary materials and labour cost etc. complete. | Nos | 0 | 0 | 0 | 1 | 1
VII | Providing and fixing Neoprene linings all around the frames as well as on intermediate hinge lines and meeting styles as shown in the drawings to make the doors or windows airtight etc complete as directed. | Rmt | 0 | 0 | 0 | 0 | 21
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.29 Surat
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
New Civil Hospital Government Medical College, Surat (Gujarat)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 2 | 0 | 4
III | Centring & Shuttering work | SQM | 10 | 0 | 25 | 0 | 35
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 800 | 0 | 1300
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 20 | 0 | 32
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | RM | 1 | 0 | 0 | 0 | 1
III | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.30 Patan
| Description of Work | Unit | Other sections of the faciility Qnty | Total Qnty | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Gujarat Medical Education & Research Society, Patan (Gujarat)
A | Electrical Services
I | Wall mounting Fan (new, 600 sweep, 1400 RPM) | Nos | 3 | 3
II | Exhaust Fan (new ,350 mm sweep, 1400 RPM) | Nos | 1 | 1
III | Wall mounting Fan (new, 400 mm sweep, 1400 RPM) | Nos | 6 | 6
Toatal Amount | [5 empty] | 0
GST @
Total Amount including GST | [5 empty] | 0

## 7.31 Ahmedabad
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
BJ Medical College and Civil Hospital, Ahmedabad
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 1 | 2
III | Ceiling Fan (replacement, 1200 mm sweep, 350-400 RPM) | Nos | 0 | 0 | 0 | 4 | 4
IV | Exhaust Fan (new, 350 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 12 | 12
V | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
IV | Dismentaling and removal of existing GI with glas frame sliding windows of size each of 4'6" width & 3'6" height | Nos | 0 | 0 | 0 | 6 | 6
V | Supply and installation of double openining window of size 4'6" width and 3'6" height, fully openable/ close type, metal frame window with glass, window is vertically hung, hinged on either the left or right side and opens out with necessary fitting works and enamel painting works along with fitting of mosquito net | Nos | 0 | 0 | 0 | 6 | 6
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.32 Rajkot
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
PDU Medical College, Rajkot
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical service
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1
III | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.33 Amreli
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Shantabaa Medical College & General Hospital, Amreli, Gujrat
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical service
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1
III | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0

## 7.34 Junagadh
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
GMERS, Junagadh, Gujrat
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72
B | Electrical service
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1
III | LED light | Nos | 1 | 0 | 0 | 0 | 1
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1
II | Signages | Job | 1 | 0 | 0 | 0 | 1
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1
Total Amount | [8 empty] | 0
GST @
Total Amount Including GST | [8 empty] | 0