## Jorhat
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Jorhat Medical College, Jorhat (Assam)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical service
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 3 | 4 |  | 0
II | Exhaust Fan (replacement, 400 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 4 | 4 |  | 0
IV | Wall mounted Fan (new, 600 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 9 | 9 |  | 0
V | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
IV | Three Seater Stainless Steel Waiting Area Visitor Chair, 325-350 Kg Weight Handling Capacity. Durable Parts And Support | Nos | 0 | 0 | 0 | 4 | 4 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## Goalpara
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Goalpara Civil Hospital, Goalpara (Assam)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
III | Exhaust Fan (new, 200 mm sweep, 2600 RPM) | Nos | 0 | 0 | 0 | 6 | 6 |  | 0
IV | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0