## Motihari
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
District DRTB Centre, Motihari East Champaran (Bihar)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 900 | 0 | 0 | 980 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 21.5 | 0 | 0 | 23.5 |  | 0
III | Centring & Shuttering work | SQM | 10 | 30.5 | 0 | 0 | 40.5 |  | 0
IV | Brick Work | CUM | 1 | 4.5 | 0 | 0 | 5.5 |  | 0
V | Plastering | SQM | 10 | 42.5 | 0 | 0 | 52.5 |  | 0
VI | Structural Steel Work | KG | 500 | 1700 | 0 | 0 | 2200 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 12 | 0 | 0 | 20 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 68 | 0 | 0 | 80 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 85 | 0 | 0 | 99 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 60 | 0 | 0 | 90 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | RM | 1 | 4 | 0 | 0 | 5 |  | 0
III | LED light | Nos | 1 | 2 | 0 | 0 | 3 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 1 | 0 | 0 | 2 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 2 | 0 | 0 | 3 |  | 0
IV | Three Seater Stainless Steel Waiting Area Visitor Chair, 325-350 Kg Weight Handling Capacity. Durable Parts And Support | Nos | 0 | 9 | 0 | 0 | 9 |  | 0
V | Installation of new Wash basin 1-unit white Ceramic type (Wall mount) with C.I. brackets, 15mm C.P. brass pillar taps, 32mm C.P. brass waste of standard pattern, including painting and fittings of all brackets including the necessary plumbing work (inlet water supply connection and outlet connection to drainage) wherever required along with necessary plumbing work | Job | 0 | 0 | 0 | 1 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0