## Howrah
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Tulsiram Lakshmi Devi Jaiswal Hospital, Howrah, (West Bengal)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 400 | 0 | 0 | 480 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 10 | 0 | 0 | 12 |  | 0
III | Centring & Shuttering work | SQM | 10 | 15 | 0 | 0 | 25 |  | 0
IV | Brick Work | CUM | 1 | 2.5 | 0 | 0 | 3.5 |  | 0
V | Plastering | SQM | 10 | 20 | 0 | 0 | 30 |  | 0
VI | Structural Steel Work | KG | 600 | 800 | 0 | 0 | 1400 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 12 | 0 | 0 | 20 |  | 0
VIII | PolyCarbonate Sheet | SQM | 15 | 30 | 0 | 0 | 45 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 35 | 0 | 0 | 49 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 60 | 0 | 0 | 90 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 2 | 0 | 0 | 3 |  | 0
III | LED light | Nos | 1 | 2 | 0 | 0 | 3 |  | 0
C | Misc
I | Tissue paper and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 1 | 0 | 0 | 2 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 1 | 0 | 0 | 2 |  | 0
IV | Three Seater Stainless Steel Waiting Area Visitor Chair, 325-350 Kg Weight Handling Capacity. Durable Parts And Support | Nos | 0 | 6 | 0 | 0 | 6 |  | 0
V | creation of a window cutout in the existing wall of size 3ft(H) x 3ft (W) at proposed registration area with provision of SS 304 (16 guage) window with proper sliding & grilling system including necessary civil and finishing works | Job | 0 | 0 | 0 | 2 | 2 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## Jalpaiguri
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
T. B. Hospital, Jalpaiguri, West Bengal
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
III | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## Burdwan
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patinet waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Burdwan Medical College & Hospital, Burdwan (West Bengal)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0.3 | 2.3 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0.3 | 1.3 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 1 | 2 |  | 0
III | Wall Mounting Fan (new, 400 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 5 | 5 |  | 0
IV | Wall Mounting Fan (new, 600 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 4 | 4 |  | 0
V | Exhaust Fan (new, 12 inch, 300 mm, 1400 RPM) | Nos | 0 | 0 | 0 | 1 | 1 |  | 0
VI | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## Rampurhat
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patinet waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
Government Medical College, Rampurhat (West Bengal)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0 | 2 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 0 | 500 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 0 | 12 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
III | Exhaust Fan (new, 250 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 3 | 3 |  | 0
IV | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
IV | Wall cutout provision for installation of exhaust fan including appropriate civil works | Job | 0 | 0 | 0 | 3 | 3 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## Siliguri
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
North Bengal Medical College & Hospital, Siliguri (West Bengal)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0.5 | 2.5 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 5 | 15 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 0 | 700 | 1200 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 0 | 20 | 32 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 14 | 15 |  | 0
III | Exhaust Fan (new, 350 mm sweep, 1400 RPM) | Nos | 0 | 0 | 0 | 2 | 2 |  | 0
IV | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 2 | 3 |  | 0
IV | Wall cutout provision for installation of exhaust fan including appropriate civil works | Job | 0 | 0 | 0 | 2 | 2 |  | 0
V | Three Seater Stainless Steel Waiting Area Visitor Chair, 325-350 Kg Weight Handling Capacity. Durable Parts And Support | Nos | 0 | 0 | 0 | 4 | 4 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## South 24
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patinet waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
K S Roy TB Hospital, South 24 Parganas (West Bengal)
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 1 | 10.5 | 13.5 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 4 | 0 | 14 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0 | 1 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 34 | 44 |  | 0
VI | Structural Steel Work | KG | 500 | 0 | 450 | 0 | 950 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 12 | 0 | 9 | 18 | 39 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Electrical Services
I | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
II | Ceiling Fan (new, 1200 mm sweep, 350-400 RPM) | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
III | LED light | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
C | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0

## STM Kolkata
| Description of Work | Unit | Sputum collection Area Qnty (A) | Patient waiting area Qnty (B) | shaded pathway platform Qnty (C) | Other sections of the faciility Qnty (D) | Total Qnty (A+B+C+D) | Unit Rate (Excluding GST) | Total Amount (Excluding GST)
STM TB HOSPITAL, Kolkata
A | Civil & Fabrication
I | Reinforcement for RCC work | KG | 80 | 0 | 0 | 0 | 80 |  | 0
II | Plain Cement Concrete/IPS with Excavation work | CUM | 2 | 0 | 0 | 0.3 | 2.3 |  | 0
III | Centring & Shuttering work | SQM | 10 | 0 | 0 | 0 | 10 |  | 0
IV | Brick Work | CUM | 1 | 0 | 0 | 0.3 | 1.3 |  | 0
V | Plastering | SQM | 10 | 0 | 0 | 2.5 | 12.5 |  | 0
VI | Structural Steel Work | KG | 560 | 0 | 0 | 0 | 560 |  | 0
VII | Steel railing, SS 304 (16 gauge) | RMT | 8 | 0 | 0 | 0 | 8 |  | 0
VIII | PolyCarbonate Sheet | SQM | 15 | 0 | 0 | 0 | 15 |  | 0
IX | Flooring & Wall Cladding | SQM | 14 | 0 | 0 | 0 | 14 |  | 0
X | M S Fencing with wire mesh | SQFT | 72 | 0 | 0 | 0 | 72 |  | 0
B | Misc
I | Tissue papar and sanitizer holder | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
II | Signages | Job | 1 | 0 | 0 | 0 | 1 |  | 0
III | Outdoor floor mounted stand dustbins with durable plastic,80L capacity. The stand must be fixed in the ground. | Nos | 1 | 0 | 0 | 0 | 1 |  | 0
IV | Circuit wiring | RM | 30 | 0 | 0 | 0 | 30 |  | 0
V | Removal of the existing work bench(platform) including staining basin and Removal of existing aluminium partition in the TB lab | Job | 0 | 0 | 0 | 1 | 1 |  | 0
VI | Construction of 1 number workbench with brick and mortar with granite top of dimension 7 feet (L) X 1.5 feet (W)X 3 feet (H) with staining station (Wash basin, ceramic counter type) with necessary civil and plumbing works including proper drainage facility. | Job | 0 | 0 | 0 | 1 | 1 |  | 0
Total Amount | [8 empty] | 0
| GST @% | [7 empty] | 0
Total Amount (Including GST) | [8 empty] | 0